## 2023 Annual Report
| Flow | [6 empty] | BOD |  |  |  |  | Suspended Solids |  |  |  |  | Settleable Solids | Turbidity |  | PH | Ammonia | TDS | Nitrate | Coliform Median | Total Residual | TKN mg/L | Nitrogenmg/L | Grease & Oil mg/L | Copper ug/L | Zinc ug/L | Rain Totals
| Influent |  |  | Effluent Ocean |  | Effluent Forest |  | Influent |  | Effluent |  | % Removal | Influent |  | Effluent |  | % Removal
| Maximum MGD | Average MGD | Total MG | Average MGD | Total MG | Average MGD | Total gallons | Max mg/L | Ave mg/L | Max mg/L | Ave mg/L |  | Max mg/L | Ave mg/L | Max mg/L | Ave mg/L |  | ml/L/hr | Max NTU | Avg NTU |  | mg/L | mg/L | mg/L | MPN/100mL | Chlorine mg/L
January | 0.020592 | 0.012963 | 0.40186 | 0.016142 | 0.5004 | N/A |  | 6.4 | 87.5 | 6.4 | 5.5 | 93.71% | 170 | 85.5 | 16 | 12.25 | 85.67% | 0.02 | 16.7 | 15 | 7.3 | Not Taken |  |  | 31.25 | 0.023333 | [5 empty] | 0
February | 0.011856 | 0.0057497 | 0.16099 | 0.0068914 | 0.19296 | N/A |  | 290 | 242.5 | 10 | 8.4 | 96.97% | 560 | 290.25 | 13 | 8.8 | 96.97% | 0.2 | 25 | 19.5 | 7.2 | 0.06 |  |  | 868.25 | 0.023333 | [5 empty] | 0
March | 0.014975 | 0.012978 | 0.40232 | 0.014652 | 0.4542 | N/A |  | 41 | 19.75 | 13 | 7 | 64.56% | 31 | 24.5 | 15 | 12 | 51.02% | 0.1 | 48 | 43 | 7.3 | 1.7 |  |  | 425 | 0.027895 | [5 empty] | 2.15
April | 0.010608 | 0.00676 | 0.2028 | 0.0059693 | 0.17908 | N/A |  | 270 | 138.25 | <5.0 | <5.0 | 96.38% | 170 | 82.25 | 7.58 | 7.3975 | 91.73% | 0.1 | 25 | 20.2 | 7.3975 | 0.3 | [9 empty] | 4.9
May | 0.0075 | 0.0042495 | 0.13174 | N/A | N/A | 0.0042155 | 0.13068 | 170 | 170 | <5.0 | <5.0 | 97.06% | 84 | 84 | 7.4 | 7.4 | 91.19% | N/A | N/A | N/A | 7.4694 |  |  |  | 17 | [6 empty] | 0.7
[19 empty] | N/A | N/A
June | 0.008112 | 0.0050308 | 0.15092 | N/A | N/A | 0.0039254 | 0.12169 | 320 | 320 | <5.0 | <5.0 | 98.44% | 70 | 70 | 7.6 | 7.6 | 89.14% | N/A | N/A | N/A | 6.7785 | 1.4 | 340 | 4.2 | 4 |  | 3.7 | 2.3 |  |  |  | 1.5
[19 empty] | N/A | N/A
July | 0.01123 | 0.0062799 | 0.19468 | N/A | N/A | 0.005249 | 0.16272 | 400 | 400 | <5.0 | <5.0 | 98.75% | 110 | 110 | 12 | 12 | 89.09% | N/A | N/A | N/A | 7.523 |  |  |  | <2.0 | [6 empty] | 0.06
[19 empty] | N/A | N/A
August | 0.007488 | 0.0055352 | 0.17159 | N/A | N/A | 0.0048377 | 0.14513 | 240 | 240 | <5.0 | <5.0 | 97.92% | 88 | 88 | 9.4 | 9.4 | 89.32% | N/A | N/A | N/A | 7.639 |  |  |  | <2.0 | [6 empty] | 0
[19 empty] | N/A | N/A
September | 0.008112 | 0.0048664 | 0.14599 | N/A | N/A | 0.0034142 | 0.10584 | 340 | 74 | <5.0 | <5.0 | 98.53% | 74 | 74 | 8 | 8 | 89.19% | N/A | N/A | N/A | 7.7173 | 0.5 | 460 | 2.3 | <2.0 | [6 empty] | 2.95
[19 empty] | N/A | N/A
October | 0.004992 | 0.003893 | 0.12068 | N/A | N/A | 0.0036465 | 0.11304 | 460 | 460 | <5.0 | <5.0 | 98.74% | 70 | 70 | 5.6 | 5.6 | 92% | N/A | N/A | N/A | 7.722 |  |  |  | <2.0 | [6 empty] | 2.95
November | 0.00629 | 0.0041825 | 0.12547 | 0.0043055 | 0.13347 | 0.0006 | 0.018 | 390 | 305 | 5.4 | 5.2 | 98.3% | 69 | 65 | 4.8 | 3.95 | 93.92% | 0.01 | 17.5 | 14.4 | 7.825 |  |  |  | <2.0 | 0.014615 | [5 empty] | 4.54
December | 0.008112 | 0.0048705 | 0.15099 | 0.0052606 | 0.16308 | N/A |  | 0 | 368.75 | 0 | 5.525 | 98.5% | 0 | 99.25 | 0 | 6.2 | 93.75% | 0.02 | 43 | 37.7 | 7.7369 | 0.04 |  |  | 11.2 | 0.02619 |  |  | <5.0 | 4.2 | 10 | 9.04
Total /Avg | 0.0099889 | 0.0064466 | 2.36 | 0.0094502 | 1.6232 | 0.0036126 | 0.7971 | 243.95 | 235.4792 | 6.1 | 5.6 | 98 | 124.6667 | 95.2292 | 8.865 | 8.3831 | 96 | 0.1 | 12 | 13.5 | 10.1 | 0.71 | 400 | 3.25 | 9.4 | 0.02 |  |  | <5.0 |  |  | 28.79

## Influent
2023 Influent | January | Acre/Ft | February | Acre/Ft | March | Acre/Ft | April | Acre/Ft | May | Acre/Ft | June | Acre/Ft | July | Acre/Ft | August | Acre/Ft | September | Acre/Ft | October | Acre/Ft | November | Acre/Ft | December | Acre/Ft
1 | 0.018096 | 0.055535 | 0.00312 | 0.0095749 | 0.00936 | 0.028725 | 0.005616 | 0.017235 | 0.003744 | 0.01149 | 0.008112 | 0.024895 | 0.008736 | 0.02681 | 0.00624 | 0.01915 | 0.006863 | 0.021062 | 0.003744 | 0.01149 | 0.00312 | 0.0095749 | 0.006863 | 0.021062
2 | 0.018096 | 0.055535 | 0.004992 | 0.01532 | 0.00811 | 0.024889 | 0.004992 | 0.01532 | 0.004368 | 0.013405 | 0.007488 | 0.02298 | 0.008736 | 0.02681 | 0.004992 | 0.01532 | 0.008112 | 0.024895 | 0.003744 | 0.01149 | 0.00312 | 0.0095749 | 0.008112 | 0.024895
3 | 0.013104 | 0.040215 | 0.005616 | 0.017235 | 0.00624 | 0.01915 | 0.004992 | 0.01532 | 0.004992 | 0.01532 | 0.005616 | 0.017235 | 0.008736 | 0.02681 | 0.005615 | 0.017232 | 0.008112 | 0.024895 | 0.003744 | 0.01149 | 0.003744 | 0.01149 | 0.008112 | 0.024895
4 | 0.013104 | 0.040215 | 0.008112 | 0.024895 | 0.00811 | 0.024889 | 0.003744 | 0.01149 | 0.003744 | 0.01149 | 0.004992 | 0.01532 | 0.004992 | 0.01532 | 0.007487 | 0.022977 | 0.004367 | 0.013402 | 0.003744 | 0.01149 | 0.004368 | 0.013405 | 0.004367 | 0.013402
5 | 0.013728 | 0.04213 | 0.004992 | 0.01532 | 0.00998 | 0.030627 | 0.003744 | 0.01149 | 0.003744 | 0.01149 | 0.004992 | 0.01532 | 0.011232 | 0.03447 | 0.006864 | 0.021065 | 0.004992 | 0.01532 | 0.004992 | 0.01532 | 0.004992 | 0.01532 | 0.004992 | 0.01532
6 | 0.013728 | 0.04213 | 0.005616 | 0.017235 | 0.00624 | 0.01915 | 0.008112 | 0.024895 | 0.004368 | 0.013405 | 0.003752 | 0.011514 | 0.00624 | 0.01915 | 0.007487 | 0.022977 | 0.00499 | 0.015314 | 0.004992 | 0.01532 | 0.003744 | 0.01149 | 0.00499 | 0.015314
7 | 0.019344 | 0.059365 | 0.004368 | 0.013405 | 0.00811 | 0.024889 | 0.008112 | 0.024895 | 0.004368 | 0.013405 | 0.004992 | 0.01532 | 0.00468 | 0.014362 | 0.00624 | 0.01915 | 0.002496 | 0.0076599 | 0.004368 | 0.013405 | 0.003744 | 0.01149 | 0.002496 | 0.0076599
8 | 0.01872 | 0.05745 | 0.004368 | 0.013405 | 0.00811 | 0.024889 | 0.010608 | 0.032555 | 0.003744 | 0.01149 | 0.002496 | 0.0076599 | 0.006348 | 0.019481 | 0.005616 | 0.017235 | 0.005615 | 0.017232 | 0.004368 | 0.013405 | 0.003744 | 0.01149 | 0.005615 | 0.017232
9 | 0.01872 | 0.05745 | 0.004368 | 0.013405 | 0.01934 | 0.059352 | 0.009984 | 0.03064 | 0.003744 | 0.01149 | 0.005616 | 0.017235 | 0.006348 | 0.019481 | 0.004992 | 0.01532 | 0.005616 | 0.017235 | 0.003744 | 0.01149 | 0.00312 | 0.0095749 | 0.005616 | 0.017235
10 | 0.01872 | 0.05745 | 0.004992 | 0.01532 | 0.01622 | 0.049777 | 0.009984 | 0.03064 | 0.00132 | 0.0040509 | 0.004368 | 0.013405 | 0.006972 | 0.021396 | 0.006239 | 0.019147 | 0.004992 | 0.01532 | 0.004992 | 0.01532 | 0.00312 | 0.0095749 | 0.004992 | 0.01532
11 | 0.01872 | 0.05745 | 0.005616 | 0.017235 | 0.0131 | 0.040202 | 0.00624 | 0.01915 | 0.00312 | 0.0095749 | 0.004368 | 0.013405 | 0.00312 | 0.0095749 | 0.0043679 | 0.013405 | 0.004367 | 0.013402 | 0.004992 | 0.01532 | 0.004992 | 0.01532 | 0.004367 | 0.013402
12 | 0.020592 | 0.063195 | 0.004992 | 0.01532 | 0.01684 | 0.05168 | 0.006864 | 0.021065 | 0.00312 | 0.0095749 | 0.004368 | 0.013405 | 0.00624 | 0.01915 | 0.006864 | 0.021065 | 0.00312 | 0.0095749 | 0.004992 | 0.01532 | 0.003744 | 0.01149 | 0.00312 | 0.0095749
13 | 0.020592 | 0.063195 | 0.004992 | 0.01532 | 0.01934 | 0.059352 | 0.010608 | 0.032555 | 0.004368 | 0.013405 | 0.00312 | 0.0095749 | 0.005616 | 0.017235 | 0.00624 | 0.01915 | 0.003744 | 0.01149 | 0.004992 | 0.01532 | 0.004368 | 0.013405 | 0.003744 | 0.01149
14 | 0.020592 | 0.063195 | 0.003744 | 0.01149 | 0.02496 | 0.076599 | 0.010608 | 0.032555 | 0.004368 | 0.013405 | 0.004368 | 0.013405 | 0.004368 | 0.013405 | 0.00624 | 0.01915 | 0.002495 | 0.0076569 | 0.004992 | 0.01532 | 0.003744 | 0.01149 | 0.002495 | 0.0076569
15 | 0.020592 | 0.063195 | 0.004368 | 0.013405 | 0.014975 | 0.045957 | 0.007488 | 0.02298 | 0.003744 | 0.01149 | 0.004368 | 0.013405 | 0.00624 | 0.01915 | 0.00624 | 0.01915 | 0.005615 | 0.017232 | 0.003744 | 0.01149 | 0.003744 | 0.01149 | 0.005615 | 0.017232
16 | 0.019968 | 0.06128 | 0.003744 | 0.01149 | 0.01123 | 0.034464 | 0.007488 | 0.02298 | 0.003744 | 0.01149 | 0.005512 | 0.016916 | 0.006864 | 0.021065 | 0.004992 | 0.01532 | 0.004368 | 0.013405 | 0.003744 | 0.01149 | 0.004368 | 0.013405 | 0.004368 | 0.013405
17 | 0.013728 | 0.04213 | 0.004368 | 0.013405 | 0.0131 | 0.040202 | 0.007488 | 0.02298 | 0.003744 | 0.01149 | 0.005512 | 0.016916 | 0.00624 | 0.01915 | 0.00624 | 0.01915 | 0.00624 | 0.01915 | 0.003744 | 0.01149 | 0.001872 | 0.005745 | 0.00624 | 0.01915
18 | 0.013104 | 0.040215 | 0.003744 | 0.01149 | 0.013727 | 0.042127 | 0.008112 | 0.024895 | 0.003744 | 0.01149 | 0.005512 | 0.016916 | 0.004368 | 0.013405 | 0.005615 | 0.017232 | 0.004367 | 0.013402 | 0.004368 | 0.013405 | 0.00629 | 0.019303 | 0.004367 | 0.013402
19 | 0.01248 | 0.0383 | 0.004992 | 0.01532 | 0.01123 | 0.034464 | 0.006864 | 0.021065 | 0.003744 | 0.01149 | 0.005512 | 0.016916 | 0.008712 | 0.026736 | 0.004992 | 0.01532 | 0.003744 | 0.01149 | 0.004368 | 0.013405 | 0.00624 | 0.01915 | 0.003744 | 0.01149
20 | 0.01248 | 0.0383 | 0.005616 | 0.017235 | 0.01622 | 0.049777 | 0.006864 | 0.021065 | 0.00624 | 0.01915 | 0.004992 | 0.01532 | 0.005616 | 0.017235 | 0.00624 | 0.01915 | 0.004368 | 0.013405 | 0.004368 | 0.013405 | 0.004992 | 0.01532 | 0.004368 | 0.013405
21 | 0.00936 | 0.028725 | 0.004992 | 0.01532 | 0.00873 | 0.026791 | 0.005616 | 0.017235 | 0.00624 | 0.01915 | 0.004992 | 0.01532 | 0.00624 | 0.01915 | 0.002495 | 0.0076569 | 0.004367 | 0.013402 | 0.004368 | 0.013405 | 0.004992 | 0.01532 | 0.004367 | 0.013402
22 | 0.00936 | 0.028725 | 0.003744 | 0.01149 | 0.0106 | 0.03253 | 0.00624 | 0.01915 | 0.004368 | 0.013405 | 0.005616 | 0.017235 | 0.006864 | 0.021065 | 0.004992 | 0.01532 | 0.004992 | 0.01532 | 0.004368 | 0.013405 | 0.004368 | 0.013405 | 0.004992 | 0.01532
23 | 0.005616 | 0.017235 | 0.008112 | 0.024895 | 0.01185 | 0.036366 | 0.006864 | 0.021065 | 0.003744 | 0.01149 | 0.004212 | 0.012926 | 0.00624 | 0.01915 | 0.004368 | 0.013405 | 0.004992 | 0.01532 | 0.003744 | 0.01149 | 0.003744 | 0.01149 | 0.004992 | 0.01532
24 | 0.005616 | 0.017235 | 0.008736 | 0.02681 | 0.01435 | 0.044039 | 0.005616 | 0.017235 | 0.00312 | 0.0095749 | 0.004212 | 0.012926 | 0.006864 | 0.021065 | 0.003743 | 0.011487 | 0.00623 | 0.019119 | 0.003744 | 0.01149 | 0.005616 | 0.017235 | 0.00623 | 0.019119
25 | 0.005616 | 0.017235 | 0.006864 | 0.021065 | 0.00998 | 0.030627 | 0.004992 | 0.01532 | 0.00312 | 0.0095749 | 0.004212 | 0.012926 | 0.005616 | 0.017235 | 0.004991 | 0.015317 | 0.004367 | 0.013402 | 0.004992 | 0.01532 | 0.004368 | 0.013405 | 0.004367 | 0.013402
26 | 0.005616 | 0.017235 | 0.00936 | 0.028725 | 0.00936 | 0.028725 | 0.004368 | 0.013405 | 0.003744 | 0.01149 | 0.004212 | 0.012926 | 0.004992 | 0.01532 | 0.007488 | 0.02298 | 0.004368 | 0.013405 | 0.00312 | 0.0095749 | 0.004992 | 0.01532 | 0.004368 | 0.013405
27 | 0.004992 | 0.01532 | 0.011856 | 0.036385 | 0.01123 | 0.034464 | 0.004992 | 0.01532 | 0.006864 | 0.021065 | 0.004368 | 0.013405 | 0.004992 | 0.01532 | 0.00624 | 0.01915 | 0.003743 | 0.011487 | 0.00312 | 0.0095749 | 0.004992 | 0.01532 | 0.003743 | 0.011487
28 | 0.004368 | 0.013405 | 0.010608 | 0.032555 | 0.0199 | 0.061071 | 0.004992 | 0.01532 | 0.007488 | 0.02298 | 0.008112 | 0.024895 | 0.00624 | 0.01915 | 0.004367 | 0.013402 | 0.004992 | 0.01532 | 0.0002496 | 0.00076599 | 0.003744 | 0.01149 | 0.004992 | 0.01532
29 | 0.004368 | 0.013405 |  | 0 | 0.02808 | 0.086174 | 0.005616 | 0.017235 | 0.007488 | 0.02298 | 0.006864 | 0.021065 | 0.004992 | 0.01532 | 0.004367 | 0.013402 | 0.004367 | 0.013402 | 0.001248 | 0.00383 | 0.003744 | 0.01149 | 0.004367 | 0.013402
30 | 0.004368 | 0.013405 |  | 0 | 0.01622 | 0.049777 | 0.004992 | 0.01532 | 0.003744 | 0.01149 | 0.004068 | 0.012484 | 0.00624 | 0.01915 | 0.004992 | 0.01532 | 0.004992 | 0.01532 | 0.001248 | 0.00383 | 0.003744 | 0.01149 | 0.004992 | 0.01532
31 | 0.004368 | 0.013405 |  | 0 | 0.00748 | 0.022955 |  | 0 | 0.003744 | 0.01149 |  | 0 | 0.004992 | 0.01532 | 0.003744 | 0.01149 |  | 0 | 0.003744 | 0.01149 |  | 0 | 0.004992 | 0.01532
Average | 0.012963 | 0.039782 | 0.0057497 | 0.015938 | 0.012978 | 0.039828 | 0.00676 | 0.020076 | 0.0042495 | 0.013041 | 0.0050308 | 0.014941 | 0.0062799 | 0.019272 | 0.0055352 | 0.016987 | 0.0048664 | 0.014453 | 0.003893 | 0.011947 | 0.0041825 | 0.012421 | 0.0048705 | 0.014947
Max | 0.020592 |  | 0.011856 |  | 0.014975 |  | 0.010608 |  | 0.0075 |  | 0.008112 |  | 0.01123 |  | 0.007488 |  | 0.008112 |  | 0.004992 |  | 0.00629 |  | 0.008112
Total | 0.40186 | 1.2333 | 0.16099 | 0.49407 | 0.40232 | 1.2347 | 0.2028 | 0.62237 | 0.13174 | 0.40428 | 0.15092 | 0 | 0.19468 | 0.59744 | 0.17159 | 0.52659 | 0.14599 | 0.44804 | 0.12068 | 0.37036 | 0.12547 | 0.38507 | 0.15099 | 0.46336

## Effluent-Ocean
2023 Effluent Ocean | January | Acre/Ft | CL2 | February | Acre/Ft | CL2 | March | Acre/Ft | CL2 | April | Acre/Ft | CL2 | May | Acre/Ft | CL2 | June | Acre/Ft | CL2 | July | Acre/Ft | CL2 | August | Acre/Ft | CL2 | September | Acre/Ft | CL2 | October | Acre/Ft | CL2 | November | Acre/Ft | CL2 | December | Acre/Ft | CL2
1 | 0.0198 | 0.060764 | 0.01 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2 | 0.02232 | 0.068498 | 0.01 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
3 | 0.0252 | 0.077336 | 0.01 | 0 | 0 |  | 0 | 0 |  | 0.03024 | 0.092803 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
4 | 0.01512 | 0.046402 | 0.01 | 0 | 0 |  | 0 | 0 |  | 0.00772 | 0.023692 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0.01116 | 0.034249 | 0.01
5 | 0.0144 | 0.044192 | 0.02 | 0 | 0 |  | 0.02231 | 0.068467 | 0.02 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0.00252 | 0.0077336 | 0.02
6 | 0.0144 | 0.044192 | 0.01 | 0.02016 | 0.061869 | 0.02 | 0.01403 | 0.043056 | 0.03 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0.009 | 0.02762 | 0.02 | 0.0108 | 0.033144 | 0.05
7 | 0.0324 | 0.099432 | 0.01 | 0.02376 | 0.072917 | 0.03 | 0.01404 | 0.043087 | 0.03 | 0.02736 | 0.083965 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0.01116 | 0.034249 | 0.01
8 | 0.0306 | 0.093908 | 0.01 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0.01116 | 0.034249 | 0.01 | 0 | 0
9 | 0.0288 | 0.088384 | 0.01 | 0 | 0 |  | 0.0255 | 0.078257 | 0.04 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0.0126 | 0.038668 | 0.01 | 0 | 0
10 | 0.03456 | 0.10606 | 0.01 | 0 | 0 |  | 0.02915 | 0.089458 | 0.02 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
11 | 0.02916 | 0.089489 | 0.02 | 0 | 0 |  | 0.02844 | 0.087279 | 0.04 | 0.02844 | 0.087279 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0.01116 | 0.034249 | 0.01
12 | 0.00972 | 0.02983 | 0.01 | 0 | 0 |  | 0.0234 | 0.071812 | 0.02 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0.00216 | 0.0066288 | 0.01
13 | 0.0306 | 0.093908 | 0.02 | 0 | 0 |  | 0.0252 | 0.077336 | 0.08 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0.00792 | 0.024306 | 0.01 | 0.00864 | 0.026515 | 0.01
14 | 0.01908 | 0.058554 | 0.01 | 0.0252 | 0.077336 | 0.02 | 0.03528 | 0.10827 | 0.03 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0.01143 | 0.035077 | 0.02 | 0.00288 | 0.0088384 | 0.05
15 | 0.02124 | 0.065183 | 0.01 | 0 | 0 |  | 0.036 | 0.11048 | 0.01 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0.01188 | 0.036458 | 0.02 | 0 | 0
16 | 0.0306 | 0.093908 | 0.01 | 0.01404 | 0.043087 | 0.02 | 0.0162 | 0.049716 | 0.01 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
17 | 0.02808 | 0.086174 | 0.01 | 0 | 0 |  | 0 | 0 |  | 0.01152 | 0.035354 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
18 | 0.01476 | 0.045297 | 0.01 | 0 | 0 |  | 0 | 0 |  | 0.01872 | 0.05745 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0.00864 | 0.026515 | 0.01
19 | 0 | 0 |  | 0 | 0 |  | 0.02772 | 0.08507 | 0.02 | 0.01152 | 0.035354 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0.00396 | 0.012153 | 0.02
20 | 0.01908 | 0.058554 | 0.01 | 0 | 0 |  | 0.02807 | 0.086144 | 0.01 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0.01152 | 0.035354 | 0.01 | 0.00756 | 0.023201 | 0.01
21 | 0 | 0 |  | 0.02376 | 0.072917 | 0.02 | 0.01511 | 0.046371 | 0.03 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0.00252 | 0.0077336 | 0.01 | 0.00792 | 0.024306 | 0.01
22 | 0.01908 | 0.058554 | 0.01 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0.0126 | 0.038668 | 0.03 | 0.0072 | 0.022096 | 0.09
23 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0.00684 | 0.020991 | 0.05
24 | 0 | 0 |  | 0.0216 | 0.066288 | 0.02 | 0.02772 | 0.08507 | 0.03 | 0.0126 | 0.038668 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0.00864 | 0.026515 | 0.06
25 | 0.00216 | 0.0066288 | 0.01 | 0 | 0 |  | 0 | 0 |  | 0.0144 | 0.044192 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
26 | 0.02304 | 0.070707 | 0.01 | 0.01188 | 0.036458 | 0.02 | 0 | 0 |  | 0.01656 | 0.050821 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0.00864 | 0.026515 | 0.01
27 | 0.0162 | 0.049716 | 0.01 | 0.02484 | 0.076231 | 0.03 | 0.02736 | 0.083965 | 0.03 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0.01152 | 0.035354 | 0.01 | 0.00864 | 0.026515 | 0.03
28 | 0 | 0 |  | 0.02772 | 0.08507 | 0.03 | 0.0162 | 0.049716 | 0.02 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0.00828 | 0.02541 | 0.02 | 0.00864 | 0.026515 | 0.03
29 | 0 | 0 |  |  | 0 |  | 0.02267 | 0.069572 | 0.03 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0.01152 | 0.035354 | 0.01 | 0.00864 | 0.026515 | 0.04
30 | 0 | 0 |  |  | 0 |  | 0.0198 | 0.060764 | 0.03 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0.01152 | 0.035354 | 0.01 | 0.00864 | 0.026515 | 0.01
31 | 0 | 0 |  |  | 0 |  | 0 | 0 |  |  | 0 |  | 0 | 0 |  |  | 0 |  | 0 | 0 |  | 0 | 0 |  |  | 0 |  | 0 | 0 |  | 0 | 0 |  | 0.00864 | 0.026515 | 0.01
Average | 0.016142 | 0.049538 | 0.011304 | 0.0068914 | 0.019102 | 0.023333 | 0.014652 | 0.044964 | 0.027895 | 0.0059693 | 0.017728 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0.0043055 | 0.013213 | 0.014615 | 0.0052606 | 0.016144 | 0.02619
Max | [5 empty] | 0.03 |  |  | 0.04 | 0.01656
Total | 0.5004 | 1.5357 |  | 0.19296 | 0.59217 |  | 0.4542 | 1.3939 |  | 0.17908 | 0.54958 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0.13347 | 0.4096 |  | 0.16308 | 0.50047

## Effluent-Forest
2023 Effluent Forest | January | Acre/Ft | February | Acre/Ft | March | Acre/Ft | April | Acre/Ft | May | Acre/Ft | PH | June | Acre/Ft | PH | July | Acre/Ft | PH | August | Acre/Ft | PH | September | Acre/Ft | PH | October | Acre/Ft | PH | November | Acre/Ft | PH | December | Acre/Ft | PH
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00432 | 0.013258 | 7.37 | 0.00864 | 0.026515 | 7.59 | 0 | 0 |  | 0 | 0 |  | 0.00648 | 0.019886 | 7.76 | 0 | 0 |  | 0.009 | 0.02762 | 7.78 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.00396 | 0.012153 | 7.57 | 0 | 0 |  | 0.00828 | 0.02541 | 7.47 | 0 | 0 |  | 0.00684 | 0.020991 | 7.7 | 0.009 | 0.02762 | 7.77 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0.009 | 0.02762 | 7.6 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0.00684 | 0.020991 | 7.53 | 0 | 0 |  | 0.0072 | 0.022096 | 7.58 | 0.009 | 0.02762 | 7.68 | 0 | 0 |  | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.0072 | 0.022096 | 7.64 | 0.00612 | 0.018782 | 7.39 | 0.00617 | 0.018935 | 7.85 | 0 | 0 |  | 0.00936 | 0.028725 | 7.65 | 0 | 0 |  | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.009 | 0.02762 | 7.46 | 0.009 | 0.02762 | 7.47 |  | 0 |  | 0.00792 | 0.024306 | 7.73 | 0 | 0 |  | 0 | 0 |  | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.00864 | 0.026515 | 7.44 | 0.00756 | 0.023201 | 7.48 | 0.00936 | 0.028725 | 7.51 | 0.009 | 0.02762 | 7.69 | 0 | 0 |  | 0 | 0 |  | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00684 | 0.020991 | 7.37 | 0 | 0 |  | 0 | 0 |  | 0.00684 | 0.020991 | 7.69 | 0.00468 | 0.014362 | 7.78 | 0 | 0 |  | 0 | 0 |  | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0018 | 0.005524 | 7.4 | 0.00504 | 0.015467 | 7.46 | 0 | 0 |  | 0.0072 | 0.022096 | 7.59 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00864 | 0.026515 | 7.4 | 0 | 0 |  | 0.00828 | 0.02541 | 7.64 | 0.00864 | 0.026515 | 7.72 | 0 | 0 |  | 0.00288 | 0.0088384 | 7.74 | 0 | 0 |  | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0072 | 0.022096 | 7.45 | 0 | 0 |  | 0.00864 | 0.026515 | 7.78 | 0.00468 | 0.014362 | 7.62 | 0.00828 | 0.02541 | 7.7 | 0.0072 | 0.022096 | 7.72 | 0 | 0 |  | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00648 | 0.019886 | 7.2 | 0.006488 | 0.019911 | 7.52 | 0.00828 | 0.02541 | 7.44 | 0 | 0 |  | 0 | 0 |  | 0.00864 | 0.026515 | 7.66 | 0 | 0 |  | 0 | 0 | 7.77
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.0036 | 0.011048 | 7.29 | 0.0072 | 0.022096 | 7.45 | 0 | 0 |  | 0.00864 | 0.026515 | 7.73 | 0.00648 | 0.019886 | 7.74 | 0 | 0 |  | 0 | 0 | 7.73
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.00648 | 0.019886 | 7.43 | 0.0036 | 0.011048 | 7.47 | 0.009 | 0.02762 | 7.62 | 0.00288 | 0.0088384 | 7.81 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 7.81
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00792 | 0.024306 | 7.51 | 0.00648 | 0.019886 | 7.51 | 0 | 0 |  | 0.0036 | 0.011048 | 7.6 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0.00936 | 0.028725 | 7.6 | 0 | 0 |  | 0.0072 | 0.022096 | 7.68 | 0 | 0 |  | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.009 | 0.02762 | 7.46 | 0 | 0 | 0 | 0.009 | 0.02762 | 7.42 | 0.00936 | 0.028725 | 7.63 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00864 | 0.026515 | 7.45 | 0 | 0 | 0 | 0.00684 | 0.020991 | 7.55 | 0.00504 | 0.015467 | 7.71 | 0.00864 | 0.026515 | 7.75 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 7.75
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.009 | 0.02762 | 7.55 | 0.00432 | 0.013258 | 7.56 | 0.00792 | 0.024306 | 7.42 | 0 | 0 |  | 0.00396 | 0.012153 | 7.63 | 0.009 | 0.02762 | 7.72 | 0 | 0 |  | 0 | 0 | 7.63
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.00432 | 0.013258 | 7.57 | 0.009 | 0.02762 | 7.49 | 0 | 0 |  | 0.00756 | 0.023201 | 7.71 | 0.009 | 0.02762 | 7.76 | 0 | 0 |  | 0 | 0 | 7.71
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.00828 | 0.02541 | 7.55 | 0.00828 | 0.02541 | 7.69 | 0.00648 | 0.019886 | 7.65 | 0.00792 | 0.024306 | 7.7 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 7.7
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00936 | 0.028725 | 7.41 | 0.00828 | 0.02541 | 7.5 | 0.009 | 0.02762 |  | 0.00216 | 0.0066288 | 7.76 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 7.73
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00864 | 0.026515 | 7.57 | 0 | 0 |  | 0 | 0 |  | 0.00972 | 0.02983 | 7.55 | 0 | 0 |  | 0.00612 | 0.018782 | 7.72 | 0 | 0 |  | 0 | 0 | 7.71
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00792 | 0.024306 | 7.51 | 0 | 0 |  | 0 | 0 |  | 0.0054 | 0.016572 | 7.58 | 0 | 0 |  | 0.0072 | 0.022096 | 7.85 | 0 | 0 |  | 0 | 0 | 7.75
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00576 | 0.017677 | 7.51 | 0 | 0 |  | 0.009 | 0.02762 | 7.45 | 0.00684 | 0.020991 | 7.74 | 0.0072 | 0.022096 | 7.73 | 0.00684 | 0.020991 | 7.74 | 0 | 0 |  | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.009 | 0.02762 | 7.58 | 0.00828 | 0.02541 | 7.79 | 0.009 | 0.02762 | 7.49 | 0 | 0 |  | 0 | 0 |  | 0.00864 | 0.026515 | 7.76 | 0 | 0 |  | 0 | 0 | 7.75
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.00504 | 0.015467 | 7.59 | 0.00684 | 0.020991 | 7.57 | 0 | 0 |  | 0.00684 | 0.020991 | 7.71 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 7.75
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.00864 | 0.026515 | 7.52 | 0.00396 | 0.012153 | 7.64 | 0.009 | 0.02762 | 7.61 | 0.00864 | 0.026515 | 7.75 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 7.75
29 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0.00612 | 0.018782 | 7.48 | 0.009 | 0.02762 | 7.58 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 7.75
30 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0.00864 | 0.026515 | 7.51 | 0 | 0 |  | 0 | 0 |  | 0.009 | 0.02762 | 7.6 | 0 | 0 |  | 0.00864 | 0.026515 | 7.71 | 0 | 0 |  | 0 | 0 | 7.75
31 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0.0054 | 0.016572 | 7.72 | 0 | 0 |  | 0.00936 | 0.028725 | 7.49 | 0.009 | 0.02762 | 7.68 | 0 | 0 |  | 0 | 0 |  |  | 0 |  | 0 | 0 | 7.75
Average | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0042155 | 0.012937 | 7.4694 | 0.0039254 | 0.012047 | 6.7785 | 0.005249 | 0.016109 | 7.523 | 0.0048377 | 0.014367 | 7.639 | 0.0034142 | 0.010478 | 7.7173 | 0.0036465 | 0.011191 | 7.722 | 0.0006 | 0.0017819 | 7.775 | 0 | 0 | 7.7369
Max | 0.020592 | [7 empty] | 0.00864 |  | 7.72 |  |  | 7.79 | 0.009 |  |  | 0.009
Total | 0 | 0 |  | 0 |  | 0 |  | 0 | 0.13068 | 0.40104 |  | 0.12169 | 0.37345 |  | 0.16272 | 0.49937 |  | 0.14513 | 0.44539 |  | 0.10584 | 0.32481 |  | 0.11304 | 0.34691 |  | 0.018 | 0.05524 |  | 0 | 0

## Lab Data
January | Influent |  | Effluent |  |  |  |  | July | Influent |  | Effluent
Date Analysis | BOD | TSS | BOD | TSS | PH | Coliform |  | Date Analysis | BOD | TSS | BOD | TSS | Coliform
2023-01-03 | 65 | 87 | 5 | 16 | 7.4 | 46 |  | 2023-07-11 | 400 | 110 | 5 | 12 | <2.0
2023-01-11 | 120 | 170 | 5.5 | 12 | 7.1 | 23
2023-01-18 | 70 | 44 | 5.1 | 13 | 7.3 | 23
2023-01-25 | 95 | 41 | 6.4 | 8 | 7.4 | 33
Average | 87.5 | 85.5 | 5.5 | 12.25 | 7.3 | 31.25 |  | Average | 400 | 110 | 5 | 12 | <2.0
Max | 120 | 170 | 6.4 | 16 | 7.4 | 46 |  | Max | 400 | 110 | 5 | 12
Percent Removal | 93.71% | 85.67% | [5 empty] | Percent Removal | 98.75% | 89.09%
February | Influent |  | Effluent |  |  |  |  | August | Influent |  | Effluent
Date Analysis | BOD | TSS | BOD | TSS | PH | Coliform |  | Date Analysis | BOD | TSS | BOD | TSS | Coliform
2023-02-07 | 290 | 490 | 6.8 | 7.3 | 7.3 | 33 |  | 2023-08-08 | 240 | 88 | 5 | 9.4 | <2.0
2023-02-14 | 170 | 54 | <5.0 | 8.6 | 7.2 | 1600
2023-02-21 | 240 | 57 | <5.0 | 6.3 | 7.1 | 240
2023-02-28 | 270 | 560 | 10 | 13 | 7.2 | 1600
Average | 242.5 | 290.25 | 8.4 | 8.8 | 7.2 | 868.25 |  | Average | 240 | 88 | 5 | 9.4 | <2.0
Max | 290 | 560 | 10 | 13 |  | 1600 |  | Max | 240 | 88 | 5 | 9.4
Percent Removal | 96.54% | 96.97% | [5 empty] | Percent Removal | 97.92% | 89.32%
March | Influent |  | Effluent |  |  |  |  | September | Influent |  | Effluent
Date Analysis | BOD | TSS | BOD | TSS | PH | Coliform |  | Date Analysis | BOD | TSS | BOD | TSS | Coliform | Ammonia | TDS | Nitrate
2023-03-07 | 10 | 21 | 5 | 15 | 7.2 | 1600 |  | 2023-09-14 |  |  |  |  | <2.0 | 0.5 | 460 | 2.3
2023-03-14 | 41 | 31 | 5 | 12 | 7.4 | 11 |  | 2023-09-19 | 340 | 74 | 5 | 8
2023-03-21 | 14 | 23 | 13 | 11 | 7.2 | 79
2023-03-30 | 14 | 23 | 5 | 10 | 7.2 | 13
Average | 19.75 | 24.5 | 7 | 12 | 7.25 | 425.75 |  | Average | 340 | 74 | 5 | 8 | <2.0 | 0.5 | 460 | 2.3
Max | 41 | 31 | 13 | 15 |  | 1600 |  | Max | 340 | 74 | 5 | 8
Percent Removal | 64.56% | 51.02% | [5 empty] | Percent Removal | 98.53% | 89.19%
April | Influent |  | Effluent |  |  |  |  | October | Influent |  | Effluent
Date Analysis | BOD | TSS | BOD | TSS | PH | Coliform |  | Date Analysis | BOD | TSS | BOD | TSS | Coliform
2023-04-04 | 90 | 37 | 5 | 9.1 | 7.32 | 13 |  | 2023-10-10 | 460 | 70 | 5.8 | 5.6 | <2.0
2023-04-11 | 93 | 32 | 5 | 6.9 | 7.58 | 2
2023-04-18 | 270 | 170 | 5 | 4.4 | 7.37 | 4.5
2023-04-26 | 100 | 90 | 5 | 6.8 | 7.32 | 11
Average | 138.25 | 82.25 | 5 | 6.8 | 7.3975 | 7.625 |  | Average | 460 | 70 | 5.8 | 5.6 | <2.0
Max | 270 | 170 | 5 | 9.1 | 7.58 | 13 |  | Max | 460 | 70 | 5.8 | 5.6
Percent Removal | 96.38% | 91.73% | [5 empty] | Percent Removal | 98.74% | 92%
May | Influent |  | Effluent |  |  |  |  | November | Influent |  | Effluent
Date Analysis | BOD | TSS | BOD | TSS | Coliform |  |  | Date Analysis | BOD | TSS | BOD | TSS | PH | Coliform
2023-05-15 | 170 | 84 | 5 | 7.4 | 17 |  |  | 2023-11-15 | [5 empty] | 2
[8 empty] | 2023-11-21 | 220 | 61 | 5 | 4.8 |  | 2
[8 empty] | 2023-11-28 | 390 | 69 | 5.4 | 3.1 | 7.77 | 2
7.88
Average | 170 | 84 | 5 | 7.4 | 17 |  |  | Average | 305 | 65 | 5.2 | 3.95 | 7.825 | 2
Max | 170 | 84 | 5 | 7.4 | 17 |  |  | Max | 390 | 69 | 5.4 | 4.8
Percent Removal | 97.06% | 91.19% | [5 empty] | Percent Removal | 98.3% | 93.92%
June | Influent |  | Effluent | [8 empty] | December | Influent |  | Effluent
Date Analysis | BOD | TSS | BOD | TSS | Coliform | Ammonia | TDS | Nitrate | TKN | Nitrogen |  | Date Analysis | BOD | TSS | BOD | TSS | PH | Coliform
2023-06-20 | 320 | 70 | 5 | 7.6 | 4 | 1.4 | 340 | 4.2 | 3.7 | 2.3 |  | 2023-12-07 | 560 | 90 | 5 | 5.2 | 7.78 | 7.8
[12 empty] | 2023-12-13 | 750 | 220 | 5 | 5.7 | 7.77 | 2
[12 empty] | 2023-12-20 | 140 | 53 | 5 | 6.4 | 7.81 | 33
[12 empty] | 2023-12-29 | 25 | 34 | 7.1 | 7.5 | 7.96 | 2
Average | 320 | 70 | 5 | 7.6 | 4 | 1.4 | 340 | 4.2 | 3.7 | 2.3 |  | Average | 368.75 | 99.25 | 5.525 | 6.2 | 7.83 | 11.2
Max | 320 | 70 | [9 empty] | Max
Percent Removal | 98.44% | 89.14% | [9 empty] | Percent Removal | 98.5% | 93.75%